## Guidance
Title
Flexibility Service Pre-Qualification Standard Questionnaire
Introduction
This document is the Prequalificatioin Questionnaire for the DPS Associated with the Load Managed Area Project.
This document is based on SSEN's Pre-qualification Questionnaire standard template used for the procurement of Flexiblity Services, which itself is based on the ENA Standard PQQ template, common across all GB DSOs procuring Flexiblity Services
The Technical section has been reduced compared with the ENA standard to reflect the innovation trial aspect of this.
Supporting documentation
Please refer to SSEN's Introduction and Procurement Overview document (file name: 2024 SSEN Load Managed Area DPS) which sets out the method used to evaluate potential providers for inclusion on this DPS.
Other Useful links
This template is broadly aligned with the Energy Network Association's (ENA's) Open Network Flexibility Service Pre-qulaification Standard Template which was published in March 2024.
Links to the ENA's supporting documentation are provided below:
https://www.energynetworks.org/publications/ena-on-flexibility-service-pre-qualification-standard-template-(mar-2024)
https://www.energynetworks.org/publications/ena-on-pre-qualification-standardisation-report-(mar-2024)

## STANDARD - COMMERCIAL
| Area | Field Name | Commercial Qualification Questions | Allowable Responses | Pass Criteria | Description | Potential Provider Response
| Reference | COMM_REF_ORG1 | Assigned Reference for this Organisation, if known | free text | completed | If the Organisation has previously been submitted and assigned a reference, this can be detailed here
Company Information | Company Information | COMM_CI_CNAME | Registered or legal name of the contracting party | free text | completed | Full registered/legal name of the party wishing to enter into the flexibility contract
|  | COMM_CI_REGNO | Company Registered Number [Or Charity/Trust] | free text | completed | Registered No. as shown on companies house. Charity or Trust Registration No. is also acceptable
|  | COMM_CI_REGA1 | Registered address 1 | free text | completed | Registered Address line 1
|  | COMM_CI_REGA2 | Registered address 2 | free text | completed | Registered Address line 2
|  | COMM_CI_REGA3 | Registered address 3 | free text, blank | completed, blank | Registered Address line 3
|  | COMM_CI_POSTC | Registered address postcode | free text | completed | Registered Address Postcode
|  | COMM_CI_FIRST | Key contact First Name | free text | completed | First name of main contact in respect of this submission and any subsequent contract
|  | COMM_CI_CLAST | Key contact Last Name | free text | completed | Last name of main contact in respect of this submission and any subsequent contract
|  | COMM_CI_EMAIL | Key contact email | free text | completed | email address of main contact in respect of this submission and any subsequent contract
|  | COMM_CI_TELNO | Key contact number | free text | completed | Contact telephone number of main contact in respect of this submission and any subsequent contract
|  | COMM_CI_WEBSI | Organisation website | free text | completed | Web address for contracting party
|  | COMM_CI_RELAT | Legal relationship with flexibility asset/s | Owner, Operator, Aggregator | one code completed | declare relationship to asset/s, only select one
|  | COMM_CI_VATNO | VAT Registration Number | free text | completed | VRN of the contracting party
Compliance | Terms and Conditions | COMM_TC_ACCEP | Confirm; You have read the applicable ENA_Standard Flexibility Services Agreement and understand it will be a requirement to accept this Agreement in order to form any contract for the delivery of flexibility services (NOTE THAT THE APPLICABLE VERSION IS ATTACHED TO THIS DPS - THIS HAS MINOR AMENDMENTS TO REFLECT THE TRIAL NATURE OF THE SERVICES). | Y, N | Y | Contracting party must confirm their acceptance of the ENA_Standard Flexibility Agreement applicable to the DNO they are pre-qualifying for
|  | COMM_TC_DECLA | Do you declare that you have the authority to submit this application and by confirming you declare that to the best of your knowledge, the information in this form is accurate? | Y, N | Y | The individual completing this submission must have the authority of the contracting party to both accept the Agreement and provide the information listed in this application
| Due Diligence | COMM_DD_FLEXA | Is the contracting party a member of Flex Assure Code of Conduct? | Y, N | Y, N | Being a member of flex assure is not required in order to pass commercial qualification, if the contracting party is member it will speed the required due diligence checks
|  | COMM_DD_ACHIL | Contracting parties Achilles UVDB Registered No. if applicable | free text, blank | completed, blank | Being Achilles UVDB (Utilities Vendor Database) registered is not required in order to pass commercial qualification, if the contracting party is member it will speed the required due diligence and credit checks
|  | COMM_DD_CHECK | Where Achilles UVDB registration has not been advised, you understand that the DNO may access the contracting Parties most recent audited financial accounts via Companies House for the purpose of credit checks. | Y, N, NA | Y, NA | Please confirm you understand that the DNO may perform credit checks as part of their due diligence checks relating to this application
|  | COMM_DD_RECEI | Is this contracting party currently, or has it ever been in receivership? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_ADMIN | Is this contracting party currently, or has it ever been in administration? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_LIQUI | Is this contracting party currently, or has it ever been in liquidation? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_DEBTS | Is this contracting party currently, or has it ever been unable to pay its debts as they fall due (within the meaning of Section 268 Insolvency Act 1986)? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_WINDI | Is this contracting party currently, or has it ever had, in the past 3 years, any petitions for winding up (other than vexatious petitions)? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_BANKR | Is this contracting party currently, or has it ever had any petitions for bankruptcy (or their equivalent in the country in which the Applicant is incorporated) within the last three years? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_OFFEN | Is this contracting party currently, or has it ever been convicted of any of the offences or has any discretional exclusion occurred, as contained in Regulation 80 of the Utilities Contract Regulations 2016 (UCR), and listed in Regulation 57 (1) and 57 (8) of the Public Contracts Regulations 2015 (PCR)? [IF IN SCOTLAND, Is this contracting party currently, or has it ever been convicted of any of the offences or has any discretional exclusion occurred, as contained in Regulation 78 of the Utilities Contract (Scotland) Regulations 2016 (UC(S)R), and listed in Regulation 58 of the Public Contracts (Scotland) Regulations 2015 (PC(S)R)?] | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_TERMI | Is this contracting party currently, or has it ever had, in the past 3 years, any similar contracts terminated prematurely and/or had damages claims or other comparable sanctions brought against the contracting party for any significant or persistent deficiencies in performance of a substantive requirement of the contract? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_LITIG | Has the contracting party been subject to any material non-employment related litigation (pending, threatened or determined) or other legal proceedings against the contracting party within the last three years that may be relevant to your ability to deliver services. | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
| Insurance | COMM_IN_EMPLO | Does the contracting party have or commit to have Employer’s liability insurance with a minimum limit of £5m | Y, N | Y | Confirm you meet the minimum insurance level required for Employers Liability
|  | COMM_IN_PUBLI | Does the contracting party have or commit to have Public liability insurance with a minimum limit of £5m | Y, N | Y | Confirm you meet the minimum insurance level required for Public Liability
|  | COMM_IN_COPIE | Will the contracting party provide copies of such insurances upon request | Y, N | Y | Confirm you will be able to provide copies of insurances if requested by the DNO

## STANDARD - TECHNICAL
Area | Field Name | Technical Qualification Questions | Allowable Responses | Pass criteria | Description | Potential Provider Response
Reference | TECH_REF_DER1 | Assigned Reference for this DER, if known | Free text, NA | Completed | If the DER has previously been submitted and assigned a reference, this can be detailed here
Connection | TECH_CN_STATUS | DER Connection status | Energised | Energised | Given the short term nature of these trials over autumn. winter and spring 24/25 the only assets that can particpate are those you currently have access to | Energised
| TECH_CN_PLAN1 | Connection voltage level | 0.23, 0.40, 0.46, 3, 3.3, 6, 6.6, 7, 11, 13, 20, 22, 25, 33, 66, 132 | Completed | The highest voltage level of any asset connected that may participate in the service.
| TECH_CN_SPEC3 | CMZ Location, if known | Yes, No | Yes' | This trial is only based in our North Licence area please confirm you have assets based in this region.
Technology | TECH_TG_GROU1 | Asset Scale | DOMESTIC, I&C | Completed | Identifies whether the DER is connected at a site that is domestic, or industrial and commercial.
| TECH_TG_GROU2 | Metering Point | POINT OF CONNECTION, ASSET LEVEL | Completed | Describes where the DER is metered. 'Asset Level' means behind the meter and 'Point of Connection' means the connection at the boundary to the network.
| TECH_TG_GROU4 | DER Type; Demand | Y, N | Y, N | Identifies if the purpose of the DER is for demand flexibility
| TECH_TG_DDCLS | If Demand, Technology Type:Air source heat pump | Y, N | Y, N | Identifies the Potential types of technology available for the trial
|  | If Demand, Technology Type: Ground source heat pump | Y, N | Y, N | Identifies the Potential types of technology available for the trial
|  | If Demand, Technology Type: Water source heat pump | Y, N | Y, N | Identifies the Potential types of technology available for the trial
|  | If Demand, Technology Type: Hybrid Heat pump | Y, N | Y, N | Identifies the Potential types of technology available for the trial
|  | If Demand, Technology : EV Charger DSR | Y, N | Y, N | Identifies the Potential types of technology available for the trial
|  | If Demand, Technology Type: EV Charger V2G | Y, N | Y, N | Identifies the Potential types of technology available for the trial
|  | If Demand, Technology Type: On site Battery | Y, N | Y, N | Identifies the Potential types of technology available for the trial
|  | If Demand, Technology Type: Flexible Site Demand | Y, N | Y, N | Identifies the Potential types of technology available for the trial
|  | If Demand, Technology Type: Electric Storage Heating | Y, N | Y, N | Identifies the Potential types of technology available for the trial
|  | If Demand, Technology Type: Other | Free Text | Completed | Identifies the Potential types of technology available for the trial
DER Parameters | TECH_PS_INCAP | DER [If Speculative, then Aggregated Group] Installed capacity (MW) | free text | Completed | Please fill in the expected capacity across the SHEPD as a maximum
| TECH_PS_FCDTU | DER [If Speculative, then Aggregated Group] Flexible Active Capacity - Demand Turn-up (MW) | free text | Completed | The capacity, in MW, of your DER to increase its generation output. If Zero, please respond '0'. Please fill in an approximate maximum for SHEPD region.
| TECH_PS_FCDTD | DER [If Speculative, then Aggregated Group] Flexible Active Capacity - Demand Turn-down (MW) | free text | Completed | The capacity, in MW, of your DER to reduce its generation output. If Zero, please respond '0'. Please fill in an approximate maximum for SHEPD region.
Metering | TECH_PS_METER | Metering Granularity (Second by Second, Minute by Minute or Half Hourly) | SS, MIN, HH | MIN, HH | The metering frequency available for the DER, or if speculative then for the Aggregated Group. Entry should be relevant to the service applicable, for example many DNOs do not accept second x second metering.